WIND ENERGY IN RUSSIA 
 Report by Grigori Dmitriev,
 VetrEnergo for Gaia Apatity and INFORSE-Europe  First Part - June 2001

2    Wind Energy Resources in Russia

Russia is one of the biggest countries in the world and it is situated in different climatic zones, which result in high wind energy potential. Mostly highest wind energy potential is concentrated along Russia Federation seacoasts, in the vast territories of steppes and in the mountains (Fig.2.1). This map was shown in the book of Diakov et al, (3), and was the first and only one in this time. Now, due to the work (11) by Russian-Danish Institute there is much more precise results, and software equipped wind map of Russia and shown at the figure 2.2. But the maps were made in different projection, justifying our using both of them. Estimation of wind energy potential of Russia has been done several times. One of the first figure, was calculated in 1935, defined resources as 18000 TWh for USSR, as a whole (21).  The latest estimations, mentioned in (3,18) are shown in Tables 2.1-2.3. That was the time then prices were comparatively stable, and that was the last time, when the economical wind energy potential was estimated (of course, according to methods of socialists economy). Total technical wind energy potential in Russia is estimated in 2000 mln. tons of equivalent fuel (3, 18).

In Russia it is very popular to show how many fuel could be economized, if wind power replaces traditional thermal power stations. For such a comparison they use specific fuel consumption equal to 320 grams of equivalent fuel per 1 kWh of electricity. In this case the total saved fuel from technical wind resources (6218 TWh) will be about 2000 mln. tons of equivalent fuel (fuel with specific thermal capacity 7000 kcal/kg). The estimates are very similar to the figures, mentioned in the fundamental book “Renewable Energy” edited by T.B.Johansson  (22) page 196, where Drs. Michael J. Grubb and Niels I. Meyer wrote: “In 1989, the USSR submitted a wind resources estimate of 2000 TWh per year to the World Energy Conference, but overall resources must be far higher. We have been unable to obtain a more accurate estimate of the region’s exploitable wind resources”.

We suppose, that due to poorly made translation of Russian delegates report, Western expert misunderstood the figures.

In the table 2.1 are shown figures, which characterized gross and technical wind energy resources distribution on European and Asian parts of Russia.

##### Wind Energy Resources in Russia

#### Table 2.1

| Name of the region | Gross wind energy resources, TWh/year | Technical resources, TWh/year |
| --- | --- | --- |
| # European part of Russia | 29600 | 2308 |
| Siberia and Far East | 50400 | 3910 |
| Totally | 80000 | 6218 |

2.1	Possible regions for wind energy prospect developments

Unfortunately most of the wind potential is located in sparsely inhabitant territories, where the population density is less then 1 person per square km. This means that there are not industrial energy consumers, to developed enough electrical grid and electrical generating equipment, which could compensate unstable wind nature. At the Fig.2.3 is shown the principal scheme of high voltage grid of Russia which is combined with the wind map. From the picture, it became clear that at the most favorable places wind energy could be used as only energy source for small isolated consumers. Utilization of wind energy at these places could save a lot of fuel, expenses for its transportation and improve the conditions of living for local communities. However, those sites are not the ones to make it possible to cover 10% of country’s demand in electricity up to 2020.

Let us define in which regions large scale wind energy development is possible, and where we could find application the energy supply from wind energy converters (WECs) of small insulated consumers.

Small insulated consumers are situated on all Pacific ocean Russian islands, on the Pacific ocean shore from South to North up to Chukotka Peninsula, sporadically –  along Arctic ocean shore, including vast territory of Taimyr and Yamal Peninsulas, as well, as seashore of Arkhangelsk and Murmansk regions. Possibly could be small-scale application of wind power for insulated consumers in inland regions of Russia – in along the Volga steppes, in the regions along Kazakhstan border, in Northern-Caucasus steppes.  In all the above mentioned regions, with the realisation of the hybrid schemes WECs+diesel units, it is necessary to carry out the preliminary investigation of the local wind climate.

Large-scale system application of wind energy is possible: in the Eastern seashore of Sakhalin island, in the extreme south of Kamchatka, near settlements Pevek and Bilibino in Chukotka peninsula, on the seashore of Magadan region, inside the zone of high-voltage network of “Magadanenergo” access, Southern seashore of Russian Far East in the zone of Vladivostok - Nickolaevsk-na-Amure – Komsomolsk-na-Amure high-voltage network service, steppes along Volga river in neighbourhood of Volga hydropower stations chain high-voltage lines, Northern Caucasus steppes and mountains, the last, but not least, in Kola Peninsula, where wind conditions are extremely favourable, and there exists power engineering infrastructure in the form of conventional electrical power stations and large scale industrial consumers.

Besides, in these territories, there are vast almost uninhabited lands which could be used for wind park creation, without washing the foots of windmills in the seas, like it is planned in majority of West European countries with off-shore windparks planning, and not bothering any human beings here. Moreover in Magadan region and especially in Kola Peninsulas, there are significant compensation facilities in the form of existing hydropower stations for decreasing or completely smoothing over the unstable wind regime.

2.2	European part of Russia

There are several reasons to study the territory and wind resources of Russia in two different parts of the country – European and Asian (Siberia and Far East). The first reason is rather different industrial development and population density. Second is great difference in infastracture of electricity production and distribution. And the last, but not least is the reason, which has arisen in 1996, when Unified All-Russian Power System was divided into two power systems – European and Siberian. In its own turn the Siberian power system in fact consits of two almost independent systems – Siberian and Far East systems.

The European part of Russia is most highly developed territory with high population density. More, then 65% of electricity or about 700 TWh a year is consuming in European part (18,19). Here are situated all nuclear power, stations, excluding Bilibino NPS with 48 MW of installed capacity (19).

The share of hydropower electricity production in European parts energy balance is about 8,5%, the share of nuclear power is about 13%. The rest come from the production of traditional thermal power stations. The stations using gas as fuel makes up 71%, and the rest 29% are the coal-firing power stations.

The economical hydropower potential of Russian Federation is about 852 Twh per a year, in European part there are only 131 TWh a year. Technical hydropotential is about 300 TWh per a year.

In table 2.2 is shown the distribution of gross and technical potential according to economical regions of European Russia. In Northern economical region are included, according official administration division, Murmansk, Arkhangelsk and Vologda oblasts and Komi and Karelija Republics. Comparison of the data from table 2.2 and technical hydropower resources confirm the great future of wind energy.

Distribution of wind energy resources on economic regions of European part of Russia

#### Table 2.2

| Economical region | Gross wind energy resources, TWh/year | Technical resources, TWh/year |
| --- | --- | --- |
| Northern | 11040 | 860 |
| North-West | 1280 | 100 |
| Central | 2560 | 200 |
| Volgo-Viatskij | 2080 | 160 |
| Central-Chernozem | 1040 | 80 |
| Volga | 4160 | 325 |
| North Caucasus | 2560 | 200 |
| Ural | 4880 | 383 |
| Totally | 29600 | 2308 |

The scientific researches, made by Kola Science Center (9), have defined the technical wind power resources of Northern region, excluding Vologda oblast, as 2000 TWh per year. This figure is more, than two times higher, than the estimation, made in (3). Taking this information into account lets try to find what could be 20% of 2020 year European part electricity consumption. If we take the data of 1990 year (733 TWh) in this case 20% should be about 150 TWh, that is very small in comparison with wind energy technical potential. So it should not be the potential, limits the wind power development.

  - Asian part of Russia

In Asian part of Russia, which is equal to 80% of all-Russia territory, live 20% of all-Russia population. Here are produced 35% of Russian electricity, and about 70%  of it is produced by hydropower stations. Thermal power stations using coal as fuel make 62% share of all thermal power stations of Far East and Siberia. Rest of them use oil and gas.

There is not such high-developed regional power systems as in European part of Russia, and especially the developed intersystem power connections (Figure 2.3).

At the same time in East and West Siberia and in Far East of Russia are located 85% of Russian gas resources, 65% of oil fields and 75% of coal deposits, as well, as 80% of economical hydro power potential. They are equal to 721 TWh a year.

Here operates only one relatively small (48 MW) nuclear power station. The possibility of implementing large-scale wind power development here could be only in Magadan region and Primorskij kraj (the district around Vladivostok city). But in Primorskij kraj they have only low operating thermal power stations, and the grid is not developed enough.

Distribution of wind energy resources on Siberia and Far East

Table 3.3

| Economical region | Gross wind energy resources, TWh/year | Technical resources, TWh/year |
| --- | --- | --- |
| West Siberia | 12880 | 1000 |
| East Siberia | 13520 | 1050 |
| Far East | 24000 | 1860 |
| Totally | 50400 | 3910 |

The recent wind energy potential estimations, made by project institute «Lengidroproject», shows only the Magadsn region, which includes the Far East territory, figures of technical wind energy resources in 270 TWh a year (23).